## Introduction
Introduction
Thank you for choosing the Corrosion Electronics TRU-REF 1000 High Impedance Voltmeter. Within this Excel file you will find tools that we hope will make reference cell evaluation easier.
Question: How can this program make reference cell evaluation easier you might ask?
Answer: In creating this program our goal was to provide a means of quantifying the degree of error presented by any particular reference cell. We do this by calculating the source voltage (Vs) of the reference cell concerned (i.e. the reference cell voltage that you would measure if your voltmeter had an infinite input impedance ) and then expressing the voltage measured at 10 MΩ input impedance as an error of the source voltage.
Question: What is the Source Impedance (Rs) meant to represent ?
Answer: Source Impedance (Rs) is a direct representation of how resistive the current path is for any particular reference cell. This figure alone is quite a good indicator of a reference cells integrity.
Question: How are the source voltage and source impedance calculated ?
Answer: To calculate source voltage and source impedance you will require reference cell voltages at 2 different known input impedance values. Within this file you will find worksheets on the tabs below titled "Quick Calculator" and "Evaluation Table". By entering voltage measurements at 10MΩ and 100MΩ or 1000MΩ this program will automatically calculate Source Impedance (Rs), Source Voltage (Vs) and the error presented by using a standard 10MΩ Voltmeter.

## Quick Calculator
Corrosion Electronics Reference Cell Source Impedance Calculator
For use with TRU-REF 1000 Voltmeter
Use If the two known voltage values are measured using the 10 MΩ and 100 MΩ Impedance Settings
| TRU-REF Voltage (10MΩ Impedance) |  | TRU-REF Voltage (100MΩ Impedance) |  | Source Impedance (Rs) |  | Source Voltage (Vs) |  | Ref Volts Error (At 10 MΩ)
|  | VDC |  | VDC |  | MΩ |  | VDC
| Enter Value Here |  | Enter Value Here
Use If the two known voltage values are measured using the 10 MΩ and 1000 MΩ Impedance Settings
| TRU-REF Voltage (10MΩ Impedance) |  | TRU-REF Voltage (1000MΩ Impedance) |  | Source Impedance (Rs) |  | Source Voltage (Vs) |  | Ref Volts Error (At 10 MΩ)
|  | VDC |  | VDC |  | MΩ |  | VDC
| Enter Value Here |  | Enter Value Here

## Evaluation Table
Reference Cell Evaluation Table
Site Name:
Date:
Reference | TRU-REF Voltage | TRU-REF Voltage (VDC) |  | ** Calculated Values |  |  | Comments
ID | (10MΩ Impedance) | ** Use only one of these columns |  | Source Impedance | Source Voltage | Ref Volts Error
| (VDC) | 100MΩ Impedance | 1000MΩ Impedance | Rs (MΩ) | Vs (VDC) | (At 10 MΩ)